{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":19,"n_cols":14,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["id","统一社会信用代码","消控室电话","气压罐容量（m³）","气压罐个数","消防水池容量（m³）","消防水池位置","消防水箱容量（m³）","消防水箱位置","灭火器数量（个）","消火栓数量（个）","烟雾感应报警器（个）","一键报警广播（个）","自动喷水灭火系统喷头（个）"]
[1,"913202111361463326",{"$nulls":7},36,7]
[2,"91320211588430027C",null,null,null,100,"工业园8号大门口",40,"2号楼顶",80,35,1,null,10]
[3,"91320211136248646M",null,null,null,500,"厂区西北角",18,"厂房楼顶",98,33,null,null,2]
[4,"91320211583752801U",null,null,null,300,"办公楼东侧地下一层",18,"楼顶",176,99,300,4,3]
[5,"91320211301944347E",{"$nulls":7},35,45,null,1]
[6,"91320211730714179D",null,3,null,18,"1#楼顶",18,"1#楼顶",150,60,1500,30,1500]
[7,"91320211769137321E",null,"600L",null,200,"保安室 负一楼",18,"办公大楼 楼顶",200,90]
[8,"91320211607952753A",null,1,null,500,"门卫室西面地下",18,"厂房屋顶",120,40]
[9,"913202112500560589",null,null,null,172,"1号锻造车间",null,null,240,10]
[10,"913202117673817771",null,1,null,500,"车间北面",10,"办公大楼楼顶",102,39]
[11,"91320211607954871A",{"$nulls":7},30]
[12,"91320200MA1MQGR73M",null,1,null,800,"办公楼（1号楼）地下",12,"车间楼顶（2号楼）",150,6]
[13,"913202117322436571",null,2,null,160,"消防泵房旁边",8,"楼顶",85,60]
[14,"91320211MA1P7X4Y3K",null,1,2,{"$nulls":4},36,3]
[15,"913202117746540593",{"$nulls":7},15]
[16,"91320211765891183U",{"$nulls":7},62,1]
[17,"91320211748189579J",{"$nulls":7},98,2]
[18,"91320200661795074G",null,null,null,300,"餐厅楼下",30,"厂房顶",78,35]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}